Emergency Response Plan

Beverly Beach

DRAFT

PWS 41 00568

Revised: 2025-08-14

Table of Contents

I.	Emergency Response Plan (ERP)	- 4 -

A.	System Information for Beverly Beach Water District	- 4 -

B.	Community Water System Roles and Responsibilities	- 5 -

C.	Communication Procedures: Who, What, and When	- 5 -

1.	Internal Notification List	- 5 -

2.	External Non-CWS Notification List	- 5 -

3.	Public/Media Notification: When and How to Communicate	- 6 -

D.	Personnel Safety	- 6 -

1.	Evacuation Planning	- 6 -

2.	Evacuation Routes and Exits	- 6 -

3.	Assembly Areas and Accountability	- 7 -

4.	Shelter (away or stay)	- 7 -

5.	Training and Information	- 7 -

6.	Emergency Equipment	- 7 -

7.	First Aid	- 7 -

8.	Spill prevention control and MSDS sheets	- 7 -

E.	Identification of Alternate Water Sources	- 7 -

1.	Short-term outages	- 7 -

2.	Long-term Water Outages	- 9 -

F.	Replacement Equipment and Chemical Supplies	- 9 -

G.	Property Protection – Lock Down & Access Control	- 9 -

H.	Water Sampling and Monitoring	- 10 -

II.	Emergency Response Plan Activation	- 10 -

A.	ERP Activation (When to put it into action)	- 10 -

B.	What do I do once I discover a threat warning?	- 11 -

III.	Action Plans	- 12 -

A.	Response to Vulnerability Assessment	- 12 -

1.	Sources – The Treatment Plant	- 12 -

2.	Storage – The Reservoir	- 12 -

3.	Distribution System –Meters, Fire Hydrants & Other Infrastructure	- 12 -

B.	Natural Disasters and Other Significant Events	- 13 -

Emergency Response Plan/VA Proof of Completion	- 14 -

References and Links	- 15 -

Glossary	- 16 -

Appendix A: Public Communication Strategy	- 18 -

Appendix B: Sample National Terrorism Advisory System Alert	- 19 -

Appendix C: Small System Security Vulnerability Assessment Questionnaire	- 20 -

Example Boil Water Notice	- 22 -

Example Do Not Drink Notice	- 23 -

Example Do Not Use Notice	- 24 -

# Emergency Response Plan (ERP)

## System Information for Beverly Beach Water District

- General information about the water system.

  - Public Water System (PWS) ID: OR 41 00568

  - Owner : Beverly Beach Water District

  - Contracted System Manger: NW Natural Water Services (503-554-8333)

  - Certified Operator & DRC: Aaron Olson (503-554-8333)

  - Administrative Contact Person: Jessica Perryman (503-554-8333)

  - System Operator: Sterling Buckley (503-554-8333)

- Customers

  - Population Served: 152

  - Service Connections: 126

- Distribution Map (we are constantly working on maps, this is our working copy found at DiamondMaps.com)

- Operating Procedures and System Descriptions including back-up systems and interconnections with other systems;

  - System fed by one surface water treatment plant located on Wade Creek and housing a traditional treatment plant.

- Communications System Operation

  - General communication

    - NW Natural Water Services will update the website at www.hilandwater.com with general information.

    - NW Natural Water Services will send out specific mail to customers as needed.

    - At their discretion NW Natural Water Services may also post signs in the neighborhood informing the community of water hazards.

- Site Staffing Rosters and Employees’ Duties and Responsibilities

  - The System Operator will be knowledgeable of all workers in the field

  - The System Operator  will check in with any contractors that may be working in the system

## Community Water System Roles and Responsibilities

| Name of ER Lead | Curtis Olson | Name of Alternate ER Lead | Jessica Perryman |
| --- | --- | --- | --- |
| Work Tel. | 503-554-8333 | Work Tel | 503-554-8333 |
| Cell Tel. | 503-537-8334 | Cell Tel | 971-503-1558 |

## Communication Procedures: Who, What, and When

### Internal Notification List

- General Manager Silas Olson (503-554-8333)

- Operations Manager Curtis Olson (503-554-8333)

- Field Manager Jessica Perryman (503-554-8333)

- ER Lead (system operator) Aaron Olson (c. 503-487-7591)

- Alternate Lead Cody Scott (c. 602-850-1860)

- 2nd Alternate Lead Sterling Buckley (503-554-8333)

### External Non-CWS Notification List

- Local

  - Local 911

    - Lincoln County Emergency	911

    - Depot Bay Fire and Medical	911 or				541-764-2202

  - Local Government

    - Lincoln County Sheriff		541-265-4277

  - Natural Gas emergencies

    - NW Natural		800-882-3377

  - Power Utility

    - Central Lincoln PUD Emergency	1-866-484-3783

    - Central Lincoln PUD Newport Office	541-265-3211

  - Lincoln County Health and Human Services Dept.

    - Public Health		541-265-4112

    - Environmental Health		541-265-4127

- State

    - Oregon Drinking Water Program

      - Monday - Friday 8:00 am - 5:00 pm	971-673-0405

  - Oregon Emergency Response System

    - HAZMAT		800-452-0311

  - Department of Health		971-473-0400

  - State Office of Homeland Security OR Military Assistance Helpline	800-511-6944

  - State Police		503-378-3720

- Federal

  - FBI	http://www.fbi.gov/portland/	503-224-4181

  - EPA Headquarters and Regional Office

    - EPA Criminal Investigation Div (CID) (Portland)	503-326-3545

    - EPA Region 10 Oregon Operations Office (Portland)	503-326-3250

    - EPA National Health and Environmental Effects Research Lab (Salem)	541-754-4600

    - EPA National Health and Environmental Effects Research Lab (Newport)	541-754-4600

  - Department of Homeland Security (DHS) Headquarters Operator	202-282-8000

  - Department of Human Services	8:00 am - 5:00 pm	503-945-5944

  - National Response Center	http://www.nrc.uscg.mil/	800-424-8802

- Other

  - Water Information Sharing & Analysis Center	http://www.waterisac.org/

### Public/Media Notification: When and How to Communicate

All public communication will come through our website (https://hilandwater.nwnaturalwaterservices.com/) or from directly contacting the office (phone 503-554-8333 or email NWSO-H@nwnaturalwaterservices.com)If local media need to be contacted, it is to be processed through the office. (See Appendix A)

## Personnel Safety

Protecting the health and safety of everyone in the water system as well and the surrounding community is a key priority during an emergency.  During an emergency, personnel may be at risk of harm, injury, or even death. This section provides direction to personnel on how to safely implement a variety of response actions.

When considering personnel safely the following factors should be taken into account:

### Evacuation Planning

Personnel should remain aware of their surroundings at all times and act accordingly. If the personal on the ground feel their personal safety is at risk and believe evacuation is in order, they are encouraged to consult with the lead on the ground and proceed in the safest way possible. Under no circumstances will personnel be required to stay if they feel there personal safety is at risk.

### Evacuation Routes and Exits

Due to the nature and layout of this water system, the operators and staff should familiarize themselves with the mapping, design, and terrain of the system they are working on.  Each should make themselves aware of the different options for safe evacuation if it is needed.

If there are any questions, the lead on the ground will have the final say in evacuation routes and exits.

### Assembly Areas and Accountability

The lead will account for all personnel working in the area that day in the system and make sure they are safely accounted for.  The office staff will check in with the lead if there are any issues to work out.

Should there be a need to assemble, intersection of NE Beverly Dr and NE 115th St (clearing at the top of the hill) is where all should gather.  Should this location be unavailable due to hazard, the lead on the ground will have the final say where to assemble.  If communication is available, the Hiland Water office will have the final say in accounting for all personnel in the area.  If communication is down, the lead on the ground will have the final say on accounting for all personnel in the area.

### Shelter (away or stay)

If the emergency is located outside and the ER Lead determines it is best to stay indoors (lightning, hail, etc.), the treatment facility or any other buildings may be used as shelter.  If the ER Lead determines a safe evacuation should take place, all available means are options (cars, company trucks, on foot, etc.) and should be utilized as necessary.

### Training and Information

All staff will be trained in personal safety and evacuation protocol.  If a staff member feels they need more training, that staff member should bring it to the attention of their supervisor and a plan will be put in place for additional training.  Hiland Water is committed to continuing training and education for all employees.

### Emergency Equipment

The system operator will make sure each individual on their team is properly trained in the use of any and all emergency equipment that is relevant to the individual water system.  This includes equipment used to a response involving a toxic chemical, including all detection and monitoring equipment, alarms and communication systems, and personal Protective Equipment (PPE) not used as part of normal operations.

### First Aid

All employees are encouraged to improve their own knowledge of First Aid and provide assistance when needed.  No employee is mandated to go beyond their own comfort level and training in providing assistance.

### Spill prevention control and MSDS sheets

All chemicals should be regarded as a safety hazard and are not to be treated carelessly.  In the case of a spill, the Material Safety Data Sheets (MSDS) are located in the facility where the chemicals are stored.  There are backups of all MSDS in the central office and can be obtained by contacting the office.

## Identification of Alternate Water Sources

### Short-term outages

Short-term outages might be due to contamination or electrical power outages.  If your CWS has been contaminated, a public health notification such as "boil water," "do not drink," or "do not use," may be issued by the drinking water primacy agency. If a "boil water" notice is issued, no alternative water source is needed. If a "do not drink" order is issued, then the suspect water can still be used for other activities that do not involve ingesting of the water.  In this situation, it will only be necessary to provide an alternate drinking water supply for consumption and related activities such as food preparation.

A "do not use" order is much more restrictive. You will need sufficient alternate water sources to supply water for consumption, hygiene, and emergency needs.  A "do not use" notice may also have implications with respect to water used for firefighting. Although a prohibition on use of water for firefighting is likely to occur only if the water is contaminated with certain substances, an alternate source of firefighting water, such as a pond, river, or stream, may be necessary in this event.

Here are some agencies and private companies that could provide water supplies (bottle or bulk) in the event of a major event.

- Bottled water provided by outside sources

  - Koldkist Bottled Water

    - Address – 909 N Columbia Blvd, Portland, OR 97217

    - Phone – 503-285-1881

- Bottled water provided by local retailers

  - Fred Meyer

    - Address – 150 NE 20th St  Newport, OR 97365

    - Phone – 541-265-4581

    - Hours – 7:00 a.m. to 10:00 p.m.

  - Walmart

    - Address –160 NW 25th St  Newport, OR  97365

    - Phone – 541-265-6560

    - Hours – 24 hours

  - Safeway

    - Address –2220 N. Coast Hwy  Newport, OR 97365

    - Phone – 541-265-2930

    - Hours – 6:00 a.m. to 1:00 a.m.

- Bulk water provided by certified water haulers

  - Metro Rooter & Plumbing (MRP)

    - Address – 10630 NE Marx St, Portland, OR 97220

    - Phone – 503-253-4828

- Bulk water transported or provided by military assets

  - Oregon National Guard

    - Address – 1776 Militia Way SE, Salem, OR 97309

    - Phone – 503-584-6980

    - Phone – 800-452-7500

    - Hours – 8:00 a.m.-5:00 p.m.

  - Army Corp of Engineers – Emergency Management

    - Address – 441 G Street, Washington, DC  20314

    - Phone – 202-761-4603

- Bulk water provided by neighboring water utilities by truck or via pipeline

  - City of Newport

    - Address –

    - Phone – 541-574-3366

    - Hours – 8:00 a.m. to 5:00 p.m.

  - City of Depot Bay

    - Phone – 541-965-2361

    - Hours – 8:00 a.m. to 5:00 p.m.

- Interconnections with nearby public water systems

    - Johnson Creek Water  is not directly connected to another water system

- Water treated by plant and hauled to distribution centers (i.e., in the case of water distribution system contamination)

  - NW Natural Water Services

    - Address – P.O. Box 699, Newberg, OR 97132

    - Phone – 503-554-8333

### Long-term Water Outages

If the water system needs extensive cleaning, or if portions of the system have been destroyed, you will need a long-term alternate water supply.  These options will be explored should the need arise.  The following are examples of possible long-term water supply options:

- Connection of the water distribution system to an existing municipal or private water supply (assumes existing water treatment plant and distribution system is intact and useable)

- Connection of the water distribution system with a new uncontaminated groundwater or surface water source (assumes existing water treatment plant and distribution system is intact and useable)

- Development of new water distribution system (assumes existing water treatment plant and source water is uncontaminated and useable)

- Development of oversized community storage facilities to compensate for loss of existing system capacity.

## Replacement Equipment and Chemical Supplies

Here is a list of critical equipment and chemical supplies that are needed to properly operate this water system

- Current equipment

  - One surface water treatment plant

  - 100,000  and 50,000 gallon reservoirs

- Repair Parts

  - There are limited spare parts stored in this system at this time.  There are available parts at the Hiland Water warehouse located at 700 College St, Newberg, OR 97132.  There are additional parts available at neighboring systems and local suppliers.  Call Hiland Water for more information.

- Chemical supplies for normal maintenance and operations

  - There are four chemicals used on site for surface water treatment.  They are:

    - Aluminum Sulfate

    - Soda Ash

    - Sodium Hypochlorite

See the MSDS for handling and safety information.

- Information on mutual aid agreements

  - There are no mutual aid agreements at this time.

## Property Protection – Lock Down & Access Control

Protecting water system facilities, equipment and vital records is essential to restoring operations once a major event as occurred. The following are procedures to ensure the physical property is protected at all times and especially during an emergency.

- "Lock down" procedures should be followed if there is immediate danger to personal in the area.  This may include police activity, berserk individual or dangerous wild animal.

  - Gather all personal and any other people in the area and go in doors.  If the treatment plant is close, go inside.  If the treatment plant is not close, find any other shelter (nearby house, garage, etc.)

  - Lock and secure all doors, pad locks, gates, windows and any other entry point as best you can.

  - Call 911 and wait for emergency personal to respond.

  - Do not attempt to solve these kinds of situations on your own.

- Access control procedures have to do with the regular security of the water system.  These procedures will help with maintaining a safe drinking water supply.

  - Lock all doors and windows before leaving any site.

  - Routinely check fences and gates for any damage or evidence of tampering.

  - Make sure all security equipment is working and activated. (Alarms, cameras, etc.)

  - Ensure all access roads remain clear and unobstructed for easy access and clear views.

## Water Sampling and Monitoring

In the event of an attack on the water quality (i.e. terrorist attack via contaminates in the water), we will work with local and state agencies to determine the source cause and how to best resolve the damage.  We will also consult with our water quality testing lab to ensure water is safe to drink.  This may include:

- Identifying proper sampling procedures for different types of contaminants

- Obtaining sample containers

- Determining the quantity of required samples

- The lead person will be responsible for ensuring samples are transported to the lab in a safe and timely manor

- Our labs are fully certified and capable of identifying anything harmful in the water

- The office will coordinate with the lead in interpreting any results from any lab samples

# Emergency Response Plan Activation

## ERP Activation (When to put it into action)

You should pay attention to any threats from the National Terrorism Advisory System (See Appendix B: Sample National Terrorism Advisory System Alert).  Hiland Water monitors any and all alerts sent through the National Terrorism Advisory System and will act with due diligence to secure the water supply and infrastructure as necessary.

These warnings should be evaluated in the context of a typical CWS activity and previous experience in order to avoid false alarms.

- Security Breach. Physical security breaches caused by lax operations such as unsecured doors or criminal acts such as trespassing are probably the most common threat warnings.

- Witness Account. You or your neighbors may see suspicious activity, such as trespassing, breaking and entering, and other types of tampering.

- Notification by Perpetrator. A threat may be made directly to you, either verbally or in writing. Historical incidents indicate that verbal threats made over the phone are more common than written threats.

- Notification by Law Enforcement. You may receive notification about a threat directly from law enforcement, whether it is county, local, State, or Federal. Such a threat could be a result of a report of suspicious activity or through information gathered by law enforcement.

- Notification by News Media. A threat might be delivered to the news media, or the media may discover a threat. A conscientious reporter would immediately report such a threat to the law enforcement and either the reporter or law enforcement would immediately contact the CWS.

- Unusual Water Quality. You should investigate possible causes of unusual water quality (i.e., changes from baseline). You want to rule out unusual results that can be explained or those that are due to known causes.

- Consumer Complaint. An unexplained or unusually high incidence of consumer complaints about the aesthetic qualities of drinking water may indicate a potential threat. Many chemicals can impart a strong odor or taste to water, and some may discolor the water.

- Public Health Notification. The first indication that a water-related incident has occurred may involve victims showing up in local emergency rooms and health clinics. An incident triggered by a public health notification is unique in that at least a segment of the population has been exposed to a harmful substance.

## What do I do once I discover a threat warning?

Once a threat warning is received, the threat decision (or threat evaluation) process begins. The ER Lead or Alternate ER Lead should be notified immediately because they will be involved in this decision process and make decisions about who else (e.g., other emergency responders) should be involved. The threat decision process is considered in three successive stages: ‘possible’, ‘credible’, and ‘confirmed’. As the situation escalates through these three stages, the actions that might be considered also change. The following describes the stages, actions that might be considered, and activation of your ERP.

- Stage 1: “Is the threat ‘possible’?” If you are faced with a threat, you should evaluate the available information to determine whether or not the threat is possible (i.e., could something have actually happened?). If the threat is possible, immediate operational response actions might be implemented. Knowing the findings from your VA could help you determine whether a certain threat is possible or not.

- Stage 2: “Is the threat ‘credible’?” There must be information to corroborate the threat in order for it to be considered credible. For example, your information source may be highly credible, hospitals may be reporting a potential incident, or your may have monitoring results that are unusual. At this stage, you may activate additional portions of your ERP, such as initiating internal and external notifications, conducting water sampling and analysis, or issuing public health advisories. At this stage, you’re not sure whether a major event has occurred but are preparing to respond should the threat actually lead to a major event.

- Stage 3: “Has the incident been ‘confirmed’?” Confirmation implies that definitive evidence and information has been collected to establish that an incident has occurred. Confirmation of an incident may be obvious, such as structural damage to a CWS; in such a case, Stages 1 and 2 would be omitted. Upon confirmation of the incident, you should fully implement your ERP. Your ERP should contain Action Plans (see Section IV) that address specific major events, and these Action Plans should be implemented immediately.

The application of this threat decision process will vary significantly with the circumstances. The ER Lead should work through the threat decision process and implement the ERP as needed. In summary, judgment must be exercised when determining how to appropriately manage a specific threat or incident.

# Action Plans

## Response to Vulnerability Assessment

There are only a few major vulnerabilities in this system.  In this section, we will address what to do in the event that the water system is compromised.  The water system has three main areas (the treatment plant, reservoir and the distribution system).  Whenever entering or leaving the well/reservoir area, always check the gate and door locks to ensure safety of the area.

### Sources – The Treatment Plant

The treatment plant is located on a service road south of the reservoir off of Old US Hwy 101.  Check the site often to ensure no tampering.  In the event the treatment plant has been compromised, proceed with caution.  Here are some steps to follow.

- Secure the area. Look for entry, vandalism, or theft.  Make sure you do not disturb the area as it may be a crime scene.

- Call 911.  Do not hesitate to involve the authorities.

- Look for evidence of contamination. Scan for powders or liquids that do not belong.

- Look for damage to the structure. Examine doors, windows and walls for damage.

- Flush water extensively to clear any contaminates. Only do this after authorities have gathered whatever evidence they may need.

- Test water. Take samples and deliver to the lab.

### Storage – The Reservoir

The reservoir is just as important as the well system.  It is located close to the intersection of Otter Crest Loop and Otter Crest Dr.  Always make sure to lock and secure the reservoir before leaving the area.  In the event the reservoir has been compromised, proceed with caution.  Here are some steps to follow.

- Secure the area. Look for entry, vandalism, or theft.  Make sure you do not disturb the area as it may be a crime scene.

- Call 911.  Do not hesitate to involve the authorities.

- Look for evidence of contamination. Scan for powders or liquids that do not belong.

- Look for damage to the structure. Examine hatches, openings, pipes and walls for damage.

- Do not flush water extensively. If there is contamination, the tank will need to be drained and extensively cleaned.  Only do this after authorities have gathered whatever evidence they may need.

- Test water. Take samples and deliver to the lab.

### Distribution System –Meters, Fire Hydrants & Other Infrastructure

The rest of the system is less vulnerable to malicious attack, but still needs to be monitored for any activity.  Meters, fire hydrants, testing ports, blow-off assemblies and other infrastructure should be routinely checked for evidence of tampering.  When working on the system, be sure to secure piping and other apparatus as well as possible.  In the event a meter, blow-off, or other infrastructure has been compromised, proceed with caution.  Here are some steps to follow.

- Secure the area. Look for vandalism, theft or malicious intent.  Make sure you do not disturb the area as it may be a crime scene.

- Call 911.  Do not hesitate to involve the authorities.

- Look for evidence of contamination. Scan for powders or liquids that do not belong.

- Look for damage to the structure. Examine connections, pipes and caps for damage.

- After checking the reservoir for contamination, flush extensively. Only do this after authorities have gathered whatever evidence they may need.

- Test water. Take samples and deliver to the lab.

## Natural Disasters and Other Significant Events

The lead on the ground will determine the best course of action to take in a natural disaster or other major event.  The Hiland Water office will be in contact on a consulting level, but the final say is on the ground.  Natural disasters and other significant events include:

Fire; Flood; Hurricane and/or Tornado; Severe Weather (snow, ice, temperature, lightning, drought); Earthquake; Electrical Power Outage; Mechanical Failure; Water Supply Interruption; Contaminated Water Treatment Chemicals; Accidental Hazardous Chemical Spill/Release; Construction Accidents; Personnel Problems (Loss of operator, medical emergencies); Vandalism; and Unintentional Contamination of the Water Supply (e.g., waterborne disease outbreak, accidental cross connections, etc.).

# Emergency Response Plan/VA Proof of Completion

(Please remove sheet and return)

State of Oregon

Department of Human Services

Drinking Water Program

For small water systems with populations of 150 or less

Public Water System ID number:      OR 41 00568

Water System Name:      Beverly Beach Water District

Address:    P.O. Box 699, Newberg, OR 97132

Name of person authorized to sign on behalf of this system:

Printed Name:      Curtis Olson

Title:     NW Natural Water Services Operations Manager	Phone:      503-554-8333

Address:     P.O. Box 699, Newberg, OR 97132

I certify that this water system has completed an Emergency Response Plan and associated security assessment that complies with the minimum requirements prescribed by DHS-DWP and has coordinated, to the extent possible, with the local emergency management system.

Do not send your actual ERP/VA to DHS-DWP; these will be reviewed during routine water system surveys.  Do send in this form as proof of completion.

Mail completed form to: Tony Fields, Department of Human Services-Drinking Water Program, 800 NE Oregon Street, Suite 640, Portland, Oregon 97232

# References and Links

The following is a list of references and Internet links that have been used in preparing this Emergency Response Plan.

Department of Homeland Security (DHS): DHS is the overall lead agency for homeland security issues. DHS will become involved in incident response if needed. General information about DHS is available at http://www.dhs.gov/dhspublic. DHS administers the National Incident Management System (NIMS), which provides a nationwide template to enable Federal, State, local, and tribal governments and private-sector and nongovernmental organizations to work together to prepare for, prevent, respond to, and recover from domestic incidents, including terrorism. Information on the NIMS can be found at http://www.dhs.gov/interweb/assetlibrary/NIMS-90-web.pdf.

Environmental Protection Agency: EPA has numerous resources available in addition to this guidance. The following are key sources:

- Water Infrastructure Security information, guidance, and training information can be found at http://www.epa.gov/safewater/security/index.html.

- More information on Local Emergency Planning Committees (LEPCs) can be found at http://www.epa.gov/ceppo/lepclist.htm.

The Center for Disease Control and Prevention (CDC): The CDC develops resources to assist hospital staff, clinics, and physicians in diagnosing diseases related to terrorism, reporting incidences of disease, and controlling the spread of infection. Information on emergency preparedness and response can be found at http://www.bt.cdc.gov.

- To assist in the development of a Public Health Response Plan, the CDC published a planning document entitled The Public Health Response to Biological and Chemical Terrorism: Interim Planning Guidance for State Public Health Officials (July 2001), which can be found at http://www.bt.cdc.gov/Documents/Planning/PlanningGuidance.pdf.

- Interim Recommended Notification Procedures for Local and State Public Health Department Leaders in the Event of a Bioterrorist Incident can be found at http://www.bt.cdc.gov/EmContact/Protocols.asp.

Federal Emergency Management Agency (FEMA): On March 1, 2003, FEMA became part of the U.S. Department of Homeland Security. FEMA’s mission is to reduce loss of life and property and protect our nation's critical infrastructure from all types of hazards through a comprehensive, risk-based, emergency management program of mitigation, preparedness, response and recovery. General information can be found at http://www.fema.gov. In addition, several online training courses relevant to emergency management are available on-line from FEMA at http://training.fema.gov/EMIWeb/IS/crslist.asp.

The American Water Works Association (AWWA): EPA training developed through partnership with AWWA covers security issues including assessing vulnerabilities, emergency response plans and risk communication. AWWA information can be accessed at their website, http://www.awwa.org. Specific AWWA resources can be found at http://www.awwa.org/communications/offer/secureresources.cfm.

The Association of State Drinking Water Administrators (ASDWA): ASDWA has information on water security planning, training, and links to State programs and other information sources. Go to the security link at http://www.asdwa.org.

National Rural Water Association (NRWA): NRWA developed the "Security and Emergency Management System" (SEMS) Software Program, which can be loaded on a personal computer. It is based on NRWA/ASDWA's Security Vulnerability Self-Assessment Guide for Small Drinking Water Systems Serving Populations Between 3,300 and 10,000. You can find more information at http://www.nrwa.org.

# Glossary

Definitions in this glossary are specific to the Emergency Response Plan Guidance but have been conformed to common usage as much as possible.

Action Plans: specific plans designed to be used during the response to a threat or incident. Action plans should be easy to use and contain forms, flow charts, and simple instructions to support staff in the field or decision officials during management of a crisis.

Bioterrorism Act: the Public Health Security and Bioterrorism Preparedness and Response Act of 2002.

Chain of Command: a clear and definitive structure of authority.

‘Confirmed’: a stage in the threat evaluation process in which there is definitive evidence and information to establish that an incident or major event has occurred.

‘Credible’: a stage in the threat evaluation process in which there is information to corroborate a threat.

Drinking Water Primacy Agency: the agency that has primary enforcement responsibility for national drinking water regulations, namely those promulgated under the Safe Drinking Water Act as amended. Drinking water primacy for a particular State may reside in one of a variety of agencies such as the State Health Agency, the State Environmental Agency, or the USEPA regional office.

Emergency Response (ER) Lead: the pre-designated main point of contact and decision-maker for a CWS during a major event.

Incident Command System: a standardized on-scene emergency management concept specifically designed to allow its user(s) to adopt an integrated organizational structure equal to the complexity and demands of single or multiple incidents, without being hindered by jurisdictional boundaries.

Jurisdiction: the range or sphere of authority. Public agencies have jurisdiction at an incident related to their legal responsibilities and authority for incident mitigation. Jurisdictional authority at an incident can be political/geographic (e.g., city, county, State, or Federal boundary lines) or functional (e.g., police department, health department, etc.).

Local Emergency Planning Committee (LEPC): established by the Emergency Planning and Community Right-to-Know Act, LEPCs have the job of increasing community hazardous materials safety through public education, emergency planning, responder training, conducting exercises, and reviewing actual responses to releases.

Major Event: a domestic terrorist attack, major disaster, or other emergency (from Homeland Security Presidential Directive/HSPD-8) (http://www.whitehouse.gov/news/releases/2003/12/20031217-6.html)

Notification: the process of communicating information to interested parties.

Personal Protective Equipment (PPE): equipment and supplies designed to protect employees from serious injuries or illnesses resulting from contact with chemical, radiological, biological, or other hazards. PPE includes face shields, safety glasses, goggles, laboratory coats, gloves, and respirators.

‘Possible’: a stage in the threat evaluation process in which available information indicates there is an opportunity for an incident (i.e., the threat is possible). Final Draft 23 April 7, 2004

Response Decisions: part of the threat management process in which decisions are made regarding appropriate response actions that consider 1) the conclusions of the threat evaluation, 2) the consequences of the suspected incident, and 3) the impacts of the response actions on drinking water customers and the utility.

Security Breach: an unauthorized intrusion into a secured facility that may be discovered through direct observation, an alarm trigger, or signs of intrusion (e.g., cut locks, open doors, cut fences). A security breach is a type of threat warning.

Spokesperson: the individual responsible for interfacing with the public and media or with other agencies requiring information directly from the incident. Under the ICS, there is only one spokesperson per incident.

Technical Assistance Provider: any organization or individual that provides assistance to drinking water utilities in meeting their mission to provide an adequate and safe supply of water to their customers.

Threat: an indication of possible violence, harm, or danger.

Threat Evaluation: part of the threat management process in which all available and relevant information about the threat is evaluated to determine if the threat is ‘possible’ or ‘credible’, or if an incident has been ‘confirmed.’ This is an iterative process in which the threat evaluation is revised as additional information becomes available. The conclusions from the threat evaluation are considered when making response decisions.

Threat Warning: an occurrence or discovery that indicates a threat of a malevolent act and triggers an evaluation of the threat.

Vulnerability Assessment (VA): a systematic process for evaluating the susceptibility of critical facilities to potential threats and identifying corrective actions that can reduce or mitigate the risk of serious consequences associated with these threats.

# Appendix A: Public Communication Strategy

As a public works company, NW Natural Water Services will strive to communicate clearly with its customers and the public.  With the intention of being concise and complete, we have developed this communication strategy for the most efficient and accurate communication of relevant information.  In relation to this Emergency Response Plan, here is our Communication Strategy in the event of an emergency.

- All communication will pass through the NW Natural Water Services.  This includes letters, website updates, phone calls with the media, and any social media.

- The NW Natural Water Services office will create a fact sheet of the event that can be shared with all involved employees.  They are then able to convey this information to those who need it.  Only what is outlined on the fact sheet may be shared by employees to make sure all information is correct and relevant.

- NW Natural Water Services will update the web page www.hilandwater.nwnaturalwaterservices.com with up-to-date information as it becomes available.

- NW Natural Water Services will release a press release if it is necessary.  The office staff will collaborate with the field staff to craft an informative and complete picture of the event.  This will be distributed to the affected customers, the interested public, news outlets (television, radio, print, online) and on our website, at NW Natural Water Services discretion.

# Appendix B: Sample National Terrorism Advisory System Alert

# Appendix C: Small System Security Vulnerability Assessment Questionnaire

Task 3: Complete the Small System Security Vulnerabiliy Assessment Quesitonare

List the Critical Components of you system. For example, wells, pressure and storage tanks, pumps, etc.

One treatment plant, one 100,000-gal reservoir and one 50,000-gal reservoir

Is your system vulnerable in any way? For example, lack of locks, open access to critical components, etc.

No

What steps for you taken to protect your system? For example, locks, fencing alarms, cameras, routine patrols by law enforcement, etc.

All access points are locked, fencing is in place around sensitive equipment, routine safety checks are done.

Routine system testing is completed monthly.

What additional steps could you take to further protect your system? For example, additional or improved fencing, better locks, additional lighting, etc.

None

How would you know if your system had been compromised? For example, broken doors, locks, or windows, cut fencing, etc.

Broken doors, locks, or fence would indicate a compromised system.  Additional damaged property or other

evidence of break in.

What actions would you take if you thought the system had been compromised? For example, halt normal operations, turn off water supply, conduct water tests, close the business, notify law enforcement, bring in bottled water for drinking and cooking purposes, etc.

Proceed to the emergency response manual.  Call numbers on the list.

Additional Information:

# Example Boil Water Notice

WARNING

BOIL YOUR WATER BEFORE USING

[Water System Name] water is contaminated with [fecal

coliform/E. coli]

[Fecal coliform or E. coli] bacteria were found in the water supply on [Date]. These bacteria can make you sick and are a particular concern for people with weakened immune systems.

What should I do?

- DO NOT DRINK THE WATER WITHOUT BOILING IT FIRST. Bring all water to a boil, let it boil for ten minutes, and let it cool before using, or use bottled water. Boiled or bottled water should be used for drinking, making ice, brushing teeth, washing dishes, and preparing food until further notice. Boiling kills bacteria and other organisms in the water.

- Fecal coliform and E. coli are bacteria whose presence indicates that the water may be contaminated with organisms that can cause illness in humans. These organisms can cause diarrhea, cramps, nausea, headaches, or other symptoms. They may pose a special health risk for infants, young children, some of the elderly, and people with severely compromised immune systems.

- Organisms in drinking water are not the only cause of the symptoms above. If you experience any of these symptoms and they persist, you may want to seek medical advice. People at increased risk should seek advice about drinking water from their health care providers.

What happened? What is being done?

The water distribution system was contaminated with fecal coliform. We are working with law enforcement and the public health department to investigate/resolve this issue. We are currently increasing the chlorination levels at the treatment plant as well as at the chlorine booster stations throughout the system. In addition, we are evaluating all available information and conducting tests to confirm the extent of the contamination of the system. We will inform you when tests show no bacteria and you no longer need to boil your water. We anticipate resolving the problem within the next 48 hours.

For more information, please contact [Contact Person] at [Phone Number]. General guidelines on ways to lessen the risk of infection by microbes are available from the EPA Safe Drinking Water Hotline at 1-800-426-4794 and [the Public Health Department Hotline at 1-800-123-4567]. Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand.

This notice is being sent to you by [Fill in Water system Name]. State Water System ID# [41XXXXX]. Date distributed: [Date]

# Example Do Not Drink Notice

WARNING

DO NOT DRINK THE WATER

[Cyanide] found in the [Water System Name] water supply on

[Date]

Bottled water can be obtained at [Location of potable water].

What should I do?

- Do NOT drink the water.

- Symptoms associated with cyanide include dry mouth, itchy throat, headache, sweating, flushed skin, muscle rigidity, fever, confusion, lethargy, seizures, loss of consciousness, coma, and death.

- If you or someone you know exhibits any of these symptoms, immediately contact your health care provider. In addition, please notify the public health department at 1-800-123-4567.

What happened? What is being done?

On October 10th, the water distribution system was contaminated with cyanide. We are working with law enforcement and the public health department to investigate/resolve this issue. We have tested the water in various parts of the distribution system to verify the extent of the cyanide contamination. Based on these tests, we have isolated the portion of the system located north of Aspen Street and east of River Road. Everyone in this portion of the system should not drink the water. We have implemented additional security procedures to protect the system against further contamination. Additional information will be provided 24 hours/day on Channel 57- the local government television channel.

For more information, please contact [Contact Person] at [Phone Number]. More information is also available from the EPA Safe Drinking Water Hotline at 1-800-426-4794 and [the Public Health Department Hotline at 1-800-123-4567].

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand.

This notice is being sent to you by [Fill in Water system Name]. State Water System ID# [41XXXXX]. Date distributed: [Date]

# Example Do Not Use Notice

WARNING

DO NOT USE THE WATER

[Water System Name] water is contaminated with [parathion]

Bottled water can be obtained at [Location of potable water].

Parathion was found in the water supply on [Date]. This chemical can make you sick and may result in death.

What should I do?

- DO NOT USE THE WATER. You should not use the water for drinking, making ice, brushing teeth, washing dishes, washing clothes, bathing, food preparation, or watering lawns. Bottled water should be used for all of the above necessities until further notice.

- Parathion is a chemical usually used to kill insects. It can cause constriction of the pupils, blurred vision, muscle and abdominal cramps, excessive salivation, sweating, nausea, vomiting, dizziness, headaches, convulsions, diarrhea, weakness, labored breathing, wheezing, and unconsciousness. Exposure can even lead to death.

- If you or someone you know exhibits any of these symptoms, immediately contact your health care provider. In addition, please notify the public health department at 1-800-123-4567.

What happened? What is being done?

The water distribution system was contaminated with parathion. We are working with law enforcement and the public health department to investigate/resolve this issue. We have tested the water in various parts of the distribution system to verify the extent of the parathion contamination. Based on these tests, we have isolated the portion of the system located north of Lincoln Avenue and east of Maple Road. Everyone in this portion of the system should not use the water. We have implemented additional security procedures to protect the system against further contamination. Additional information will be provided 24 hours/day on Channel 57- the local government television channel.

For more information, please contact [Contact Person] at [Phone Number]. More information is also available from the EPA Safe Drinking Water Hotline at 1-800-426-4794 and [the Public Health Department Hotline at 1-800-123-4567].

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand.

This notice is being sent to you by [Fill in Water system Name]. State Water System ID# [41XXXXX]. Date distributed: [Date]